**CLIENT INFORMATION**

**Calamba Medical Center**

**Crossing, Calamba City, Laguna**

**EQUIPMENT** Drying Oven

**Brand** Madicent

**Model** NA

**Serial/Asset #** 94100152

**Department** Laboratory

**TEST EQUIPMENT**

Biotek Instrument Universal Biometer

**Model:** DPM III

**Serial #:** 113123

# Calibration Verification

**Calibration Date** May 2, 2022

**Due Date** May 2, 2023

**File** BTSI-CMC-2022-2882

|  |  |  |
| --- | --- | --- |
| **Device Under Test** | **Actual Measured** | **Deviation** |
| 60°C | 59.3°C | 0.7°C |
|  |  |  |
|  |  |  |
|  |  |  |

**REMARKS:**

**OVERALL RESULT: PASS**

Biomedical Technician: Cristopher M. Nipal Verified By: Engr. Oliver E. Sta. Ana

**\*\*end of record\*\***