**CLIENT INFORMATION**

**The Medical City South Luzon**

**Greenfield City, Sta. Rosa City, Laguna**

**EQUIPMENT** Radiant Warmer

**Brand** Blue Sky

**Model** BSCS-2000

**Serial/Asset #** BNT2002E-15-033

**Department** NICU

**TEST EQUIPMENT**

Biotek Instrument Universal Biometer

**Model:** DPM III

**Serial #:** 113123

# Calibration Verification

**Calibration Date** Mar. 18, 2022

**Due Date** Mar. 18, 2023

**File** BTSI-TMCSL-2022-1722

|  |  |  |
| --- | --- | --- |
| **Device Under Test** | **Actual Measured** | **Deviation** |
| 36.3°C | 36.2°C | 0.1°C |
|  |  |  |
|  |  |  |
|  |  |  |

**REMARKS:**

**OVERALL RESULT: PASS**

Biomedical Technician: Borgy P. Lebrudo Verified By: Engr. Oliver E. Sta. Ana

**\*\*end of record\*\***